## IQ0307LXP
IQ0307LXP | Para o qubit |  |  | I square pulse | length=1e-7 | Output signal amplitude based on different input parameters | [6 empty] | I square pulse | length=1e-7 | ampLO=11dB | oscScaleRF=50mV |  |  |  |  | Phase | LO= | 11dB | 3500000000 | GHz | 2.8571e-10
Delay sinal I vs saida mixer=4.8ns |  |  |  | LO |  | I |  | RF |  | Relationship between the value for the switch in the code from 0 to 1 and the voltage seen at an oscilloscope |  |  | LO | I |  | RF
|  |  |  | Freq (GHz) | Amplitude (dBm) | amp=A (A*1dBm in volts) | amp(dBm) | Mean Vpp (mV) | Vpp (dBm 50R) | awg square wave |  |  | Freq (GHz) | amp=A (A*1dBm in volts) | amp(dBm) | Mean Vpp (mV) | Vpp (dBm 50R) | Signal/leakage | Signal/Leakage dB |  | amp I | amp Q | expected phase(º) | phase(º) | dif
Relationship between the leakage, the LO frequency and the LO amplitude |  |  |  | 3 | 7 | 1 | 1.0038 | 270 | 1.6376 | amplitude variable | Vosc(mV) | Vosc(dBm) | 3 | 0 | #NUM! | 61 | -11.2831 | 1 | 0 |  | 1 | 0 | 0 | 10 | 10
Leakage | Frf~Flo |  |  | 3 | 8 | 1 | 1.0038 | 300 | 2.5527 | 0.1 | 27 | -18.3624 | 3 | 0.05 | -25.0168 | 64 | -10.8661 | 1.0492 | 0.2085 |  | 0 | 1 | 90 | 100 | 10
LO |  | RF |  | 3 | 9 | 1 | 1.0038 | 322 | 3.1674 | 0.2 | 54 | -12.3418 | 3 | 0.1 | -18.9962 | 76 | -9.3734 | 1.2459 | 0.95484 |  | -1 | 0 | 180 | -170 | 10
Amplitude (dBm) | Freq (GHz) | Mean Vpp (mV) | Vpp (dBm 50R) | 3 | 10 | 0.5 | -5.0168 | 201 | -0.92578 | 0.3 | 82 | -8.7134 | 3 | 0.15 | -15.4744 | 92 | -7.7139 | 1.5082 | 1.7846 |  | 0 | -1 | -90 | -70 | 20
10 | 3 | 61.4 | -11.2263 | 3 | 10 | 1 | 1.0038 | 332 | 3.4331 | 0.4 | 102 | -6.8177 | 3 | 0.2 | -12.9756 | 107 | -6.402 | 1.7541 | 2.4405 |  | 1 | 1 | 45 | 51 | 6
10 | 3.5 | 27 | -18.3624 | 3 | 11.5 | 0.5 | -5.0168 | 207 | -0.67029 | 0.5 | 134 | -4.4476 | 3 | 0.4 | -6.955 | 173 | -2.2288 | 2.8361 | 4.5272 |  | 1 | -1 | -45 | -34 | 11
10 | 4 | 24.7 | -19.1358 | 3 | 11.5 | 1 | 1.0038 | 361 | 4.1604 | 0.6 | 162 | -2.7994 | 3 | 0.6 | -3.4332 | 246 | 0.829 | 4.0328 | 6.0561 |  | -1 | 1 | 135 | 139 | 4
10 | 4.5 | 11 | -26.1618 | 3 | 13 | 0.5 | -5.0168 | 206 | -0.71236 | 0.7 | 190 | -1.4146 | 3 | 0.8 | -0.93443 | 309 | 2.8095 | 5.0656 | 7.0463 |  | -1 | -1 | -135 | -123 | 12
10 | 5 | 10.9 | -26.2412 | 3 | 13 | 1 | 1.0038 | 380 | 4.606 | 0.8 | 211 | -0.50405 | 3 | 1 | 1.0038 | 361 | 4.1604 | 5.918 | 7.7218 |  | -0.5 | 0.86603 | 120 | 122 | 2
10 | 5.5 | 11 | -26.1618 | 4 | 9 | 1 | 1.0038 | 340 | 3.6399 | 0.9 | 236 | 0.46854 | 3.33 | 0 | #NUM! | 35 | -16.1083 | 1 | 0 |  | -0.5 | -0.86603 | -120 | -120 | 1.0842e-07
10 | 6 | 6.8 | -30.3395 | 4 | 10 | 0.33 | -8.6259 | 146 | -3.7026 | 1 | 268 | 1.573 | 3.33 | 0.05 | -25.0168 | 42 | -14.5247 | 1.2 | 0.79181
10 | 6.5 | 3.2 | -36.8867 | 4 | 10 | 0.67 | -2.4747 | 266 | 1.5079 |  |  |  | 3.33 | 0.1 | -18.9962 | 55 | -12.1824 | 1.5714 | 1.9629 |  | Calibration of the difference in amplitude between I and Q on the output
10 | 7 | 1.05 | -46.5659 | 4 | 10 | 1 | 1.0038 | 350 | 3.8917 |  |  |  | 3.33 | 0.15 | -15.4744 | 72 | -9.8431 | 2.0571 | 3.1326 |  | https://markimicrowave.com/technical-resources/application-notes/advanced-calibration-iq-mixers/
11 | 3 | 63.3 | -10.9616 | 4 | 11.5 | 0.33 | -8.6259 | 140 | -4.0671 |  |  |  | 3.33 | 0.2 | -12.9756 | 89 | -8.0019 | 2.5429 | 4.0532 |  | Upper side band calibration |  | I,Q freq =100MHz | I,Q amp=1 | LOamp=11dB com splitter
11 | 3.1 | 39 | -15.1684 | 4 | 11.5 | 0.67 | -2.4747 | 270 | 1.6376 |  |  |  | 3.33 | 0.4 | -6.955 | 161 | -2.8532 | 4.6 | 6.6276 |  | LO freq | I side band amp | Q side band amp | dif (I-Q) in dB | >0 => att no I
11 | 3.2 | 36 | -15.8637 | 4 | 11.5 | 1 | 1.0038 | 368 | 4.3273 |  |  |  | 3.33 | 0.6 | -3.4332 | 236 | 0.46854 | 6.7429 | 8.2884 |  | 3 | -17.17 | -17.22 | 0.05
11 | 3.3 | 33.5 | -16.4888 | 4 | 13 | 0.33 | -8.6259 | 148 | -3.5845 |  |  |  | 3.33 | 0.8 | -0.93443 | 298 | 2.4946 | 8.5143 | 9.3015 |  | 3.5 | -17.13 | -17.2 | 0.07
11 | 3.4 | 33.5 | -16.4888 | 4 | 13 | 0.67 | -2.4747 | 270 | 1.6376 |  |  |  | 3.33 | 1 | 1.0038 | 348 | 3.8419 | 9.9429 | 9.9751 |  | 4 | -15.47 | -15.93 | 0.46
11 | 3.5 | 31 | -17.1625 | 4 | 13 | 1 | 1.0038 | 370 | 4.3743 |  |  |  | 3.67 | 0 | #NUM! | 28.5 | -17.8928 | 1 | 0 |  | 4.5 | -13.89 | -14.44 | 0.55
11 | 3.6 | 30 | -17.4473 | 5 | 9 | 1 | 1.0038 | 333 | 3.4592 |  |  |  | 3.67 | 0.05 | -25.0168 | 38 | -15.394 | 1.3333 | 1.2494 |  | 5 | -13.55 | -13.81 | 0.26
11 | 3.7 | 28 | -18.0465 | 5 | 10 | 0.33 | -8.6259 | 140 | -4.0671 |  |  |  | 3.67 | 0.1 | -18.9962 | 53 | -12.5042 | 1.8596 | 2.6943 |  | 5.5 | -13.76 | -14.06 | 0.3
11 | 3.8 | 25 | -19.0309 | 5 | 10 | 0.5 | -5.0168 | 190 | -1.4146 |  |  |  | 3.67 | 0.15 | -15.4744 | 71 | -9.9645 | 2.4912 | 3.9641 |  | 6 | -14.77 | -15.3 | 0.53
11 | 3.9 | 23 | -19.7551 | 5 | 10 | 0.67 | -2.4747 | 262 | 1.3763 |  |  |  | 3.67 | 0.2 | -12.9756 | 88.7 | -8.0312 | 3.1123 | 4.9308 |  | 6.5 | -15.65 | -17.06 | 1.41
11 | 4 | 21 | -20.5453 | 5 | 10 | 1 | 1.0038 | 323 | 3.1944 |  |  |  | 3.67 | 0.4 | -6.955 | 161 | -2.8532 | 5.6491 | 7.5198 |  | 7 | -17.16 | -20 | 2.84
11 | 4.5 | 11 | -26.1618 | 5 | 11.5 | 0.33 | -8.6259 | 144 | -3.8225 |  |  |  | 3.67 | 0.6 | -3.4332 | 237 | 0.50527 | 8.3158 | 9.199
11 | 5 | 11.36 | -25.8821 | 5 | 11.5 | 0.5 | -5.0168 | 200 | -0.9691 |  |  |  | 3.67 | 0.8 | -0.93443 | 301 | 2.5816 | 10.5614 | 10.2372
11 | 5.5 | 11 | -26.1618 | 5 | 11.5 | 0.67 | -2.4747 | 265 | 1.4752 |  |  |  | 3.67 | 1 | 1.0038 | 350 | 3.8917 | 12.2807 | 10.8922
11 | 6 | 6.6 | -30.5988 | 5 | 11.5 | 1 | 1.0038 | 346 | 3.7918 |  |  |  | 4 | 0 | #NUM! | 21 | -20.5453 | 1 | 0
11 | 6.5 | 2 | -40.9691 | 5 | 13 | 0.33 | -8.6259 | 144 | -3.8225 |  |  |  | 4 | 0.05 | -25.0168 | 34 | -16.3601 | 1.619 | 2.0926
11 | 7 | 1.05 | -46.5659 | 5 | 13 | 0.5 | -5.0168 | 203 | -0.83978 |  |  |  | 4 | 0.1 | -18.9962 | 50 | -13.0103 | 2.381 | 3.7675
12 | 3 | 65.2 | -10.7047 | 5 | 13 | 0.67 | -2.4747 | 266 | 1.5079 |  |  |  | 4 | 0.15 | -15.4744 | 69 | -10.2127 | 3.2857 | 5.1663
12 | 3.5 | 28 | -18.0465 | 5 | 13 | 1 | 1.0038 | 352 | 3.9412 |  |  |  | 4 | 0.2 | -12.9756 | 87 | -8.1993 | 4.1429 | 6.173
12 | 4 | 24.96 | -19.0448 | 6 | 9 | 1 | 1.0038 | 210 | -0.54531 |  |  |  | 4 | 0.4 | -6.955 | 160 | -2.9073 | 7.619 | 8.819 | z
12 | 4.5 | 10 | -26.9897 | 6 | 10 | 0.33 | -8.6259 | 98 | -7.1652 |  |  |  | 4 | 0.6 | -3.4332 | 237 | 0.50527 | 11.2857 | 10.5253
12 | 5 | 11.3 | -25.9281 | 6 | 10 | 0.67 | -2.4747 | 167 | -2.5354 |  |  |  | 4 | 0.8 | -0.93443 | 301 | 2.5816 | 14.3333 | 11.5635
12 | 5.5 | 12 | -25.4061 | 6 | 10 | 1 | 1.0038 | 218 | -0.22057 |  |  |  | 4 | 1 | 1.0038 | 352 | 3.9412 | 16.7619 | 12.2432
12 | 6 | 6.3 | -31.0029 | 6 | 11.5 | 0.33 | -8.6259 | 99 | -7.077
12 | 6.5 | 2 | -40.9691 | 6 | 11.5 | 0.67 | -2.4747 | 170 | -2.3807
12 | 7 | 1.05 | -46.5659 | 6 | 11.5 | 1 | 1.0038 | 225 | 0.05395
13 | 3 | 68.21 | -10.3127 | 6 | 13 | 0.33 | -8.6259 | 100 | -6.9897
13 | 3.5 | 29 | -17.7417 | 6 | 13 | 0.67 | -2.4747 | 170 | -2.3807
13 | 4 | 24.96 | -19.0448 | 6 | 13 | 1 | 1.0038 | 231 | 0.28254
13 | 4.5 | 10 | -26.9897 | 6.1 | 13 | 1 | 1.0038 | 173 | -2.2288
13 | 5 | 11.3 | -25.9281 | 6.2 | 13 | 1 | 1.0038 | 144 | -3.8225
13 | 5.5 | 12 | -25.4061 | 6.3 | 13 | 1 | 1.0038 | 110 | -6.1618
13 | 6 | 5.7 | -31.8722 | 6.4 | 13 | 1 | 1.0038 | 85 | -8.4013
13 | 6.5 | 1.8 | -41.8842 | 6.5 | 13 | 1 | 1.0038 | 74 | -9.6051
13 | 7 | 1.05 | -46.5659 | 6.8 | 13 | 1 | 1.0038 | 54 | -12.3418
|  |  |  | 7 | 10 | 1 | 1.0038 | 44 | -14.1206
|  |  |  | 7 | 11.5 | 1 | 1.0038 | 45 | -13.9254
|  |  |  | 7 | 13 | 1 | 1.0038 | 45 | -13.9254